## GSH and Thiols -Offline
15-2 | [6 empty] | 2020-10-08
In the case of one animal
|  | Name | Type | Code | QTY |  | Remark
Device
| D-1 | HPLC-ECD system | HTEC-510 | 540510 | 1 | 1
| D-8 | MicroSyringe Pump | ESP-36 | 207000 | 1 | 1
| D-10 | Autosampler | M-510 | 740100 | 1 | 1
| D-11 | Fraction Collector | EFC-96 | 303000 | 1 | 1
| D-13 | Data Processor | EPC-710 | 793000 | 1 | 1
| D-14 | Computer |  |  |  |  | Windows
Column
|  | EICOMPAK Separation Column | SC-5ODS | 680061 | 1 | 1 | 2.1φ x 150mm
|  | Prepacked PreColumn 4.0mm | PC-04AC | 681400 | 1 | 1 | 4φ x 5mm, for mobile phase
Electrode
|  | Gold Working Electrode | WE-AU | 100050 | 1 | 1
|  | Gasket 25 μm | GS-25 | 100080 | 1 | 1 | 3pcs/pkg
Free-moving and Probe
| F-1 | Balancer | TLB-30 | 600111 | 1 | 1
| F-2 | Two Way Swivel *2 | TCS2-23S | 800302 | 2 | 2
| F-3 | Free Moving Tube for Rat *2 | WT-20T | 800130 | 2 |  | with Collar Holder
| F-3 | Free Moving Tube for Mouse *2 | WT-20M | 800132 |  | 2
|  | Teflon Tube With Joint 50cm *2 | JT-10 | 809210 | 4 | 4
| F-5 | Collar | NF-10 | 800140 | 1
|  | Probe Starter Set | PK-10 | 800400 | 1 | 1 | Select probe size
| F-6 | Acrylic Cage for Rat | FC-30 | 809001 | 1
| F-6 | Acrylic Cage for Mouse | FC-25 | 809002 |  | 1
| F-7 | Instrument Shelf | K-60 | 900060 | 1 | 1
Mentenance Kit
|  | Check Valve Assy (Inlet) | HT-IV | 550570 | 2 | 2
|  | Check Valve Assy (Outlet) | HT-OV | 550571 | 2 | 2
|  | Precolumn Suction Adapter | PA-05 | 680700 | 1 | 1
|  | Spanner 8-10mm | SM0810 | 900056 | 2 | 2
| Note | *2 Including spare.
Mouse
Rat
GSH and Thiols for
Microdialysis
Cysteine
GSH Glutathione
D-13
D-1
D-14
D-11
D-8
D-10
F-7
F-5
F-6
F-2
F-1
F-3
MULTIPLE & SEPARATION