## 8-OH-dG -Others
17-3 | [7 empty] | 2020-10-08
8-OH-dG for Tissue,Blood Samples
|  | Name | Type | Code | QTY | Unit Price (JPY) | Price (JPY) | Remark
Device
| D-1 | HPLC-ECD system | HTEC-510 | 540510 | 1 |  | 0
| D-10 | Autosampler | M-510 | 740100 | 1 |  | 0
| D-13 | Data Processor | EPC-710 | 793000 | 1 |  | 0
| D-14 | Computer |  |  | 1 | depends on specs |  | Windows
Column
|  | EICOMPAK Separation Column | CA-5ODS | 680022 | 1 |  | 0 | 2.1φ x 150mm
|  | Prepacked PreColumn 3.0mm | PC-03AC | 681321 | 1 |  | 0 | 3φ x 4mm, for sample
|  | Prepacked PreColumn 4.0mm | PC-04AC | 681421 | 1 |  | 0 | 4φ x 5mm, for mobile phase
Electrode
|  | Graphite Working Electrode | WE-3G | 100010 | 1 |  | 0
|  | Gasket 25 μm | GS-25 | 100080 | 1 |  | 0 | 3pcs/pkg
Mentenance Kit
|  | Check Valve Assy (Inlet) | HT-IV | 550570 | 2 |  | 0
|  | Check Valve Assy (Outlet) | HT-OV | 550571 | 2 |  | 0
|  | Precolumn Suction Adapter | PA-05 | 680700 | 1 |  | 0
|  | Spanner 8-10mm | SM0810 | 900056 | 2 |  | 0
|  |  |  | Total |  |  | 0
An ultraviolet-visible spectrophotometer is required for simultaneous measurement of deoxyguanosine (dG). (Please prepare separately)
8-OH-dG 8-hydroxy-2'-deoxyguanosine
D-13
D-1
D-14
D-10